HISTORIC MASONRY

Advisory to Homeowners and Contractors

Newburyport Historical Commission

The proper care of historic bricks is critical to their lifespan and performance.

- Lime mortar

- Cleaning mortar joints

- Cleaning old brick

- Brick replacement

Old bricks are not just beautiful.  They are softer and more porous than modern bricks. They provide internal heating efficiency by absorbing and reradiating heat, a key feature of old fireplaces. (New brick does not do this.)

Lime Mortar.  Old bricks need lime mortar.

Mortar joints must be softer than the material they support. They are the ‘sacrificial lamb’ through which moisture is allowed to escape.  When moisture is trapped by hard mortar --such as now-common Portland cement -- it has no place to go but into the brick.  The brick then starts to spall, peeling away in layers and small chunks.

Whether on the interior or exterior,

it is important lime mortar

be used for repointing.

Cleaning Mortar Joints.  Extreme care must be used when removing old mortar joints. The best solution for a small area is the use of hand tools, taking care not to injure or chip the brick. On very important historic buildings the Federal Government is involved in, only hand tools are allowed, to avoid damaging the brick. In large areas which need to be repointed, power tools such as grinders may be used. But the grinding wheel must be substantially smaller than the joint itself, and used only by an experienced operator.

Major damage is often caused to historic brick by inexpert grinding, cutting the surface of the brick.  This causes the brick to become even more porous, promoting destructive spalling.  Once the brick itself is compromised, repairs are much more expensive.

Cleaning Brick.

Do not sandblast!

Sandblasting causes the face of brick to become more porous, allowing water to enter and damage the brick…and the building.  There are times when brick must be cleaned, but extreme caution must be used.

Please refer to Preservation Brief #1 “Assessing Cleaning and Water-Repellent Treatments of Historic Masonry buildings” from the US Department of the Interior/National Park Service.  http://www.nps.gov/history/hps/tps/briefs/brief01.htm

Brick Replacement.

If old brick must be replaced, old, matching bricks should be used.  Do not replace with new brick if at all possible.

The Importance of Lime Mortar

and

The Danger of Portland Cement

For thousands of years, masonry joints have been made out of two materials: lime and sand. European buildings hundreds of years old still retain this mortar mix and are as solid as the day they were built.

In the United States, Portland cement, an impervious mortar, came into widespread use by 1930.  As a result, several generations of brick masons have little to no experience using lime mortar.

The use of Portland cement on old brick

is to be avoided at all costs.  It can cause irreparable damage to historic buildings.

Portland cement mixes last approximately 30-35 years, versus lime mortar mixes known to last in excess of 100 years.

Portland cement does not allow moisture to evaporate or move out of a brick structure.  In no instance should large quantities of Portland cement be used on old brick, interior or exterior.

Sources

The information contained in this Advisory originates from the following sources:

1 - US Department of the Interior Preservation Briefs #1 (title) and #2: “Repointing Mortar Joints in Historic Masonry Buildings” http://www.nps.gov/history/hps/tps/briefs/brief02.htm. We strongly urge your masonry contractor to read this in its entirety.

2 - Members of the Newburyport Historical Commission, experienced Newburyport

preservationists, and preservation consultants including Richard Irons, restoration mason.

The National Park Service advised use of the following mortar mixes for repointing old brick and stone in Newburyport.**

City Hall, Newburyport (c. 1851) Natural Hydraulic Lime (NLH) 1 part NHL 3.5 and 2 to 2.25 parts sand for repointing brick 1 part NHL 5.0 and 2 to 2.25 parts sand for setting reused brick and new restoration brick Important: To avoid the bright white color of new mortar joints the mortar was muted with color. The best way to dull brightness is to use more yellow or brown sand. Fine brown sand often has good clay content for a more muted, off-white appearance. See actual specifications for use.

Derby House, Salem (c. 1762) 1 part NHL 5.0 and 2.5 parts sand for repointing brick National Park Service architects prefer NHL 5.0 for exterior work in New England

Custom House, Newburyport (c. 1835) 8 parts masonry sand (ASTM C144 where possible and appropriate) used Georgetown sand 3 parts lime – Minuteman Type S Hydrated – Old Castle Stone Products, Lee, MA 1 part white Lehigh brand –White Portland Cement (ASTM C150) Note: In this project mortar was not colored and will remain bright white until it weathers

Lime Mortar Resources:

Lime Works.us

www.limeworks.us		www.stastier.com

3145 State Road			St. Astier brand Natural Hydraulic Lime Mortar from France

Telford, PA 18935		Note: the author has used this brand and vendor

Atlas Preservation

www.atlaspreservation.com	Otterbein brand Natural Hydraulic Lime Mortar from Germany

122 Spring Street B1		Grassello Di Calce brand traditional Lime Putty from Italy

Southington, CT 06489		Note: The author has used these brands and vendor.

Roundtower Lime			Roundtower brand Natural Hydraulic Lime Mortar from Ireland

www.roundtowerlime.com		Note: The author has not used this particular vendor or brand lime mortar

Important note: The National Park Service first used a weaker (lower number) NHL on the Derby House,

but it did not hold up well on the exterior brickwork. They shifted to the NHL 5.0 and it has held up well.

For homeowners, small amounts of pre-mixed lime mortar can be purchased in 5-gallon or smaller buckets and even colored to match your existing mortar. Contractors can buy lime mortar by the pallet-load if needed.

For homeowners interested in mortar analysis, see U.S. Heritage Group, Inc. www.traditional-building.com/brochure/members/limemortar.shtml